## Sheet1
LOCATION | MANUFACTURE | EQUIPMENT | MODEL | SERIALNO | ASSETNO | PMDONE | PMDUE | CALDONE | CALDUE | DOI | SERVICEPROVIDERCONTACT
1ST FLR NS | Samso | Adult Weighing Scale | Progress | STKGL8 | FF-BG-BME-AWS-00001 | 2024-06-01 | 2024-12-01 | 2023-12-11 | 2024-12-10
1ST FLR NS | Essae | Baby Weighing Scale | DS252 | G25208192970 | FF-BG-BME-BWS-00001 | 2024-06-01 | 2024-12-01 | 2023-12-11 | 2024-12-10
1ST FLR NS | spectra | Breast Pump | unimom | FOIN1907290003 | FF-RR-BME-BPM-00003 | 2024-06-01 | 2024-12-01 | 2023-12-11 | 2024-12-10
1ST FLR NS | spectra | Breast Pump | unimom | IN818120035 | FF-RR-BME-BPM-00004 | 2024-06-01 | 2024-12-01 | 2023-12-11 | 2024-12-10
1ST FLR NS | Huntleigh | Fetal Doppler | FD1 | FD1X110294323 | FF-BG-BME-DOP-00026 | 2024-06-01 | 2024-12-01
1ST FLR NS | Condor | Nebulizer | Progress | N/A | FF-BG-BME-NEB-00001 | 2024-06-01 | 2024-12-01 | 2023-12-19 | 2024-12-18
1ST FLR NS | Unicare | Vital Sign Monitor | N/A | N/A | FF-BG-BME-VSM-00001 | 2024-06-01 | 2024-12-01 | 2023-12-15 | 2024-12-14
1ST FLR NS | philips | NST machine | fm20 | DE55941828 | FF-BG-BME-NST-00019 | 2024-08-01 | 2025-02-01 | 2023-12-15 | 2024-12-14
1ST FLR NS | PHOENIX | Phototherapy | brilliance pro | 5745 | FF-BG-BME-PHO-00001 | 2024-04-01 | 2025-10-01 | 2023-12-19 | 2024-12-18
1ST FLR NS | PHOENIX | Phototherapy | brilliance pro | 5706 | FF-BG-BME-PHO-00002 | 2024-04-01 | 2025-10-01 | 2023-12-19 | 2024-12-18
1ST FLR NS | PHOENIX | Phototherapy | brilliance pro | 5456 | FF-BG-BME-PHO-00003 | 2024-04-01 | 2025-10-01 | 2023-12-15 | 2024-12-14
1ST FLR NS | PHOENIX | Phototherapy | brilliance pro | 5358 | FF-BG-BME-PHO-00004 | 2024-04-01 | 2025-10-01 | 2023-12-14 | 2024-12-13
1ST FLR NS | PHOENIX | Phototherapy | brilliance pro | 5283 | FF-BG-BME-PHO-00005 | 2024-04-01 | 2025-10-01 | 2023-12-14 | 2024-12-13
2ND FLR NS | Samso | Adult Weighing Scale | N/A | N/A | FF-BG-BME-AWS-00002 | 2024-06-01 | 2024-12-01 | 2023-12-12 | 2024-12-11
2ND FLR NS | Essae | Baby Weighing Scale | DS252 | GS25210259285 | FF-BG-BME-BWS-00002 | 2024-06-01 | 2024-12-01 | 2023-12-12 | 2024-12-11
2ND FLR NS | spectra | Breast Pump | unimom | FOIN1810250013 | FF-RR-BME-BPM-00006 | 2024-06-01 | 2024-12-01 | 2023-12-12 | 2024-12-11
2ND FLR NS | spectra | Breast Pump | unimom | CHJ0100015 | FF-RR-BME-BPM-00005 | 2024-06-01 | 2024-12-01 | 2023-12-12 | 2024-12-11
2ND FLR NS | Huntleigh | Fetal Doppler | FD1 | FD1PX037131215 | FF-BG-BME-DOP-00002 | 2024-06-01 | 2024-12-01
2ND FLR NS | omron | Nebulizer | compare | 276613 | FF-BG-BME-NEB-00002 | 2024-06-01 | 2024-12-01 | 2023-12-11 | 2024-12-10
2ND FLR NS | Unicare | Vital Sign Monitor | N/A | N/A | FF-BG-BME-VSM-00002 | 2024-06-01 | 2024-12-01 | 2023-12-12 | 2024-12-11
2ND FLR NS | Arjo huntleigh | Patient Bed | AG7 | AZ1335G30061 | FF-BG-BME-EBD-00001 | 2024-06-01 | 2024-12-01 | 2023-12-12 | 2024-12-11
2ND FLR NS | Arjo huntleigh | Patient Bed | AG7 | AZ1335G30069 | FF-BG-BME-EBD-00002 | 2024-06-01 | 2024-12-01 | 2023-12-12 | 2024-12-11
Physiotherapy | Bharath medical systems | Hydrocollator Unit | NA | NA | FF-BG-BME-HCU-00001 | 2024-04-01 | 2024-10-01 | 2023-12-14 | 2024-12-13
Physiotherapy | BIOTECH | IFT MACHINE | Advance IFCT with TENS | 991 | FF-BG-BME-IFT-00001 | 2024-04-01 | 2024-10-01 | 2023-12-14 | 2024-12-13
2ND FLR NS | PHOENIX | Phototherapy | brilliance pro | 5797 | FF-BG-BME-PHO-00006 | 2024-04-01 | 2025-10-01 | 2023-12-19 | 2024-12-18
2ND FLR NS | PHOENIX | Phototherapy | brilliance pro | 5871 | FF-BG-BME-PHO-00007 | 2024-04-01 | 2025-10-01 | 2023-12-19 | 2024-12-18
2ND FLR NS | PHOENIX | Phototherapy | brilliance pro | 5835 | FF-BG-BME-PHO-00008 | 2024-04-01 | 2025-10-01 | 2023-12-12 | 2024-12-11
2ND FLR NS | Janak | Patient Bed | DX-4000 | N/A | FF-BG-BME-EBD-00003 | 2024-06-01 | 2024-12-01 | 2023-12-19 | 2024-12-18
2ND FLR NS | Janak | Patient Bed | DX-4000 | N/A | FF-BG-BME-EBD-00004 | 2024-06-01 | 2024-12-01 | 2024-12-15 | 2024-12-14
2ND FLR NS | Janak | Patient Bed | DX-4000 | N/A | FF-BG-BME-EBD-00005 | 2024-06-01 | 2024-12-01 | 2023-11-12 | 2024-12-11
2ND FLR NS | Janak | Patient Bed | DX-4000 | N/A | FF-BG-BME-EBD-00006 | 2024-06-01 | 2024-12-01 | 2023-11-12 | 2024-12-11
2ND FLR NS | Janak | Patient Bed | DX-4000 | N/A | FF-BG-BME-EBD-00007 | 2024-06-01 | 2024-12-01 | 2023-11-12 | 2024-12-11
2ND FLR NS | Janak | Patient Bed | DX-4000 | N/A | FF-BG-BME-EBD-00008 | 2024-06-01 | 2024-12-01 | 2023-12-14 | 2024-12-13
2ND FLR NS | Janak | Patient Bed | DX-4000 | N/A | FF-BG-BME-EBD-00009 | 2024-06-01 | 2024-12-01 | 2023-11-12 | 2024-12-11
2ND FLR NS | Janak | Patient Bed | DX-4000 | N/A | FF-BG-BME-EBD-00010 | 2024-06-01 | 2024-12-01 | 2023-11-12 | 2024-12-11
2ND FLR NS | Janak | Patient Bed | DX-4000 | N/A | FF-BG-BME-EBD-00011 | 2024-06-01 | 2024-12-01 | 2023-12-14 | 2024-12-13
2ND FLR NS | Janak | Patient Bed | DX-4000 | N/A | FF-BG-BME-EBD-00012 | 2024-06-01 | 2024-12-01 | 2023-11-12 | 2024-12-11
2ND FLR NS | Janak | Patient Bed | DX-4000 | N/A | FF-BG-BME-EBD-00013 | 2024-06-01 | 2024-12-01 | 2023-12-14 | 2024-12-13
2ND FLR NS | Janak | Patient Bed | DX-4000 | NA | FF-BG-BME-EBD-00014 | 2024-06-01 | 2024-12-01 | 2023-12-14 | 2024-12-13
3RD FLR LW | Philips | NST machine | FM30 | DE53105351 | FF-BG-BME-NST-00003 | 2024-08-01 | 2025-02-01 | 2023-12-13 | 2024-12-12
3RD FLR LW | Philips | NST machine | FM20 | DE53013129 | FF-BG-BME-NST-00004 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | Philips | NST machine | FM20 | DE40033674 | FF-BG-BME-NST-00005 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | Philips | NST machine | FM20 | DE55941847 | FF-BG-BME-NST-00006 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | Philips | NST machine | FM30 | DE45824351 | FF-BG-BME-NST-00007 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | Philips | NST machine | FM20 | DE45737682 | FF-BG-BME-NST-00008 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | Fresenius | syringe pump | Injectomat Agilia | 23617869 | FF-BG-BME-SYN-00001 | 2024-08-01 | 2025-02-01 | 2023-12-13 | 2024-12-12
3RD FLR LW | Fresenius | syringe pump | Injectomat Agilia | 23619773 | FF-BG-BME-SYN-00002 | 2024-08-01 | 2025-02-01 | 2023-12-13 | 2024-12-12
3RD FLR LW | Samso | Adult Weighing Scale | N/A | N/A | FF-BG-BME-AWS-00003 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | Huntleigh | Delivery Bed | 710000E/L | A71529G90016 | FF-BG-BME-DBD-00001 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | Huntleigh | Delivery Bed | 710000E/L | A71529G90014 | FF-BG-BME-DBD-00002 | 2024-08-01 | 2025-02-01 | 2023-12-13 | 2024-12-12
3RD FLR LW | HUNTLEIGH | Delivery Bed | 710000E/L | AZ1708G90001 | FF-BG-BME-DBD-00003 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | HUNTLEIGH | Delivery Bed | 710000E/L | AZ1708G90002 | FF-BG-BME-DBD-00004 | 2024-08-01 | 2025-02-01 | 2023-12-13 | 2024-12-12
3RD FLR LW | HUNTLEIGH | Delivery Bed | 710000E/L | AZ1708G90003 | FF-BG-BME-DBD-00005 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | HUNTLEIGH | Delivery Bed | 710000E/L | AZ1708G90004 | FF-BG-BME-DBD-00006 | 2024-08-01 | 2025-02-01 | 2023-12-13 | 2024-12-12
3RD FLR LW | Huntleigh | Fetal Doppler | FD1 | FD1PX0358510-13 | FF-BG-BME-DOP-00003 | 2024-08-01 | 2025-02-01
3RD FLR LW | Huntleigh | Fetal Doppler | FD1 | FD1PX34049416 | FF-BG-BME-DOP-00004 | 2024-08-01 | 2025-02-01
3RD FLR LW | Huntleigh | Fetal Doppler | FD1 | FD1PX 34013616 | FF-BG-BME-DOP-00005 | 2024-08-01 | 2025-02-01
3RD FLR LW | JMS | Infusion Pump | OT-701 | 22241 | FF-BG-BME-INF-00001 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | JMS | Infusion Pump | OT-701 | 27340 | FF-BG-BME-INF-00002 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | JMS | Infusion Pump | OT-701 | O4498 | FF-BG-BME-INF-00003 | 2024-08-01 | 2025-02-01 | 2023-12-14 | 2024-12-13
3RD FLR LW | JMS | Infusion Pump | OT-701 | O4134 | FF-BG-BME-INF-00004 | 2024-08-01 | 2025-02-01 | 2023-12-14 | 2024-12-13
3RD FLR LW | JMS | Infusion Pump | OT-701 | O2693 | FF-BG-BME-INF-00005 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | JMS | Infusion Pump | OT-701 | O4515 | FF-BG-BME-INF-00006 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | JMS | Infusion Pump | OT-701 | O5276 | FF-BG-BME-INF-00007 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | OMRAN | Nebulizer | COMP AIR | 205495 | FF-BG-BME-NEB-00003 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | Philips | Patient Monitor | CM10 | CN62610610 | FF-BG-BME-MON-00001 | 2024-08-01 | 2025-02-01 | 2023-12-13 | 2024-12-12
3RD FLR LW | Philips | Patient Monitor | CM10 | CN62610510 | FF-BG-BME-MON-00002 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | Philips | Patient Monitor | CM10 | CN62610488 | FF-BG-BME-MON-00003 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | Philips | Patient Monitor | CM10 | CN54508818 | FF-BG-BME-MON-00004 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | Philips | Patient Monitor | CM10 | CN62610506 | FF-BG-BME-MON-00005 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | Philips | Patient Monitor | CM10 | CN62610508 | FF-BG-BME-MON-00006 | 2024-08-01 | 2025-02-01 | 2023-12-13 | 2024-12-12
3RD FLR LW | minic | Suction Machine | 21F01 | NA | FF-BG-BME-SUC-00001 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | Dr.Mach | Top Light | Soloflex | 9510332 | FF-BG-BME-SRL-00001 | 2024-08-01 | 2025-02-01 | 2023-12-14 | 2024-12-13
3RD FLR LW | Dr.Mach | Top Light | Soloflex | 95-0328 | FF-BG-BME-SRL-00002 | 2024-08-01 | 2025-02-01 | 2023-12-14 | 2024-12-13
3RD FLR LW | Dr.Mach | Top Light | Soloflex | 95-0330 | FF-BG-BME-SRL-00003 | 2024-08-01 | 2025-02-01 | 2023-12-13 | 2024-12-12
3RD FLR LW | Dr.Mach | Top Light | Soloflex | 95-0339 | FF-BG-BME-SRL-00004 | 2024-08-01 | 2025-02-01 | 2023-12-13 | 2024-12-12
3RD FLR LW | Dr.Mach | Top Light | Soloflex | 95-0336 | FF-BG-BME-SRL-00005 | 2024-08-01 | 2025-02-01 | 2023-12-13 | 2024-12-12
3RD FLR LW | Dr.Mach M3 | Top Light | M3 | 12-10254 | FF-BG-BME-SRL-00006 | 2024-08-01 | 2025-02-01 | 2023-12-13 | 2024-12-12
3RD FLR LW | Dr.Mach M3 | Top Light | M3 | 12-18511 | FF-BG-BME-SRL-00007 | 2024-08-01 | 2025-02-01 | 2023-12-13 | 2024-12-12
3RD FLR LW | Medsil | Ventose Machine | N/A | MD161385 | FF-BG-BME-VNT-00001 | 2024-08-01 | 2025-02-01 | 2023-12-13 | 2024-12-12
3RD FLR LW | TANITA | Baby Weighing Scale | BD-590 | 891007 | FF-BG-BME-BWS-00003 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | Huntleigh | Delivery Bed | Birthright | CKM015930 | FF-BG-BME-DBD-00007 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | Huntleigh | Delivery Bed | Birthright | A31529G90017 | FF-BG-BME-DBD-00008 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | Huntleigh | Fetal Doppler | FD1 | 920LX0133601 | FF-BG-BME-DOP-00006 | 2024-08-01 | 2025-02-01
3RD FLR LW | JMS | Infusion Pump | OT-701 | 22240 | FF-BG-BME-INF-00008 | 2024-08-01 | 2025-02-01 | 2023-12-13 | 2024-12-12
3RD FLR LW | JMS | Infusion Pump | OT-701 | 22239 | FF-BG-BME-INF-00009 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | Philips | NST machine | FM20 | DE53006066 | FF-BG-BME-NST-00009 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | Philips | NST machine | FM20 | DE53019116 | FF-BG-BME-NST-00010 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | Fresenius | syringe pump | Injectomat Agilia | 018090-2400898 | FF-BG-BME-SYS-00003 | 2024-08-01 | 2025-02-01 | 2023-12-13 | 2024-12-12
3RD FLR LW | Fresenius | syringe pump | Injectomat Agilia | 018090-89420400 | FF-BG-BME-SYS-00004 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | Dr.Mach | Top Light | Mach 130 | 07-0213 | FF-BG-BME-SRL-00008 | 2024-08-01 | 2025-02-01 | 2023-12-14 | 2024-12-13
3RD FLR LW | Dr.Mach | Top Light | Mach 130 | 07-0212 | FF-BG-BME-SRL-00009 | 2024-08-01 | 2025-02-01 | 2023-12-14 | 2024-12-13
3RD FLR LW | astra | Vital Sign Monitor | PC100 | N/A | FF-BG-BME-VSM-00003 | 2024-08-01 | 2025-02-01 | 2023-12-13 | 2024-12-12
3RD FLR LW | ESSAE | Baby Weighing Scale | BS 250 | G25078576407 | FF-BG-BME-BWS-00004 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | Phoenix | Infant Warmer | NWS-101 | 1702 | FF-BG-BME-WAR-00001 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | PHILLIPS | NST machine | FM20 | DE65850922 | FF-BG-BME-NST-00011 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | Huntleigh | Fetal Doppler | FD1 | (21)FD1PX34896919 | FF-BG-BME-DOP-00007 | 2024-08-01 | 2025-02-01
3RD FLR LW | PHOENIX | Infant warmer | NWS 101 | 12106 | FF-BG-BME-WAR-00002 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | PHOENIX | Infant warmer | NWS 101 | 12103 | FF-BG-BME-WAR-00003 | 2024-08-01 | 2025-02-01 | 2023-12-13 | 2024-12-12
3RD FLR LW | Fisher & Paykel | Neopuff | RD900AEU | 181018017695 | FF-BG-BME-TPR-00001 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | Fisher & Paykel | Neopuff | RD900AEU | 17697 | FF-BG-BME-TPR-00002 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | Fisher & Paykel | Neopuff | RD900AEU | 17701 | FF-BG-BME-TPR-00003 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | Philips | Patient Monitor | MP5 | DE74809661 | FF-BG-BME-MON-00007 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | NIHON KOHDEN | Patient Monitor | PVM 2703 | 117313 | FF-BG-BME-MON-00008 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | NIHON KOHDEN | Patient Monitor | PVM 2703 | 117490 | FF-BG-BME-MON-00009 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | NIHON KOHDEN | Patient Monitor | PVM 2703 | 117488 | FF-BG-BME-MON-00010 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | NIHON KOHDEN | Patient Monitor | PVM 2703 | 117491 | FF-BG-BME-MON-00011 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | PHILLIPS | NST machine | FM20 | DE65851490 | FF-BG-BME-NST-00012 | 2024-08-01 | 2025-02-01 | 2023-12-13 | 2024-12-12
3RD FLR LW | JMS | Infusion Pump | OT-701 | 37816 | FF-BG-BME-INF-00010 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | JMS | Infusion Pump | OT-701 | 37813 | FF-BG-BME-INF-00011 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | JMS | Infusion Pump | OT-701 | 37815 | FF-BG-BME-INF-00012 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | Arjo huntleigh | Patient Bed | AG7 | AZ1535G30026 | FF-BG-BME-EBD-00014 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | Arjo huntleigh | Patient Bed | AG7 | AZ1535G30069 | FF-BG-BME-EBD-00015 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | Arjo huntleigh | Patient Bed | AG7 | AZ1535G30021 | FF-BG-BME-EBD-00016 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | Essae | Baby Weighing Scale | DS252 | G25209220998 | FF-BG-BME-BWS-00005 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
Ground Floor OP | Huntleigh | Fetal Doppler | FD1 | NA | FF-BG-BME-DOP-00008 | 2024-05-01 | 2024-11-01
3RD FLR LW | GE | Infant Warmer | ohmeda IWS 3100 | 560160 | FF-BG-BME-WAR-00004 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | Fisher & Paykel | Neopuff | RD900AEU | 61208003321 | FF-BG-BME-TPR-00004 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | ROCHE | LACTATE METER | ACCUTREND PLUS | RR0112761 | FF-BG-BME-LAC-00001 | 2024-08-01 | 2025-02-01 | 2023-12-13 | 2024-12-12
3RD FLR OP | Tulaman | Adult Weighing Scale | EPS | 439505 | FF-BG-BME-AWS-00004 | 2024-05-01 | 2024-11-01 | 2023-12-13 | 2024-12-12
3RD FLR OP | Huntleigh | Fetal Doppler | FD1 | FD1PX0342081-10 | FF-BG-BME-DOP-00009 | 2024-05-01 | 2024-11-01
3RD FLR OP | Huntleigh | Fetal Doppler | FD1 | FD1PX0342082-10 | FF-BG-BME-DOP-00010 | 2024-05-01 | 2024-11-01
3RD FLR OP | Unicare | Vital Sign Monitor | N/A | N/A | FF-BG-BME-VSM-00004 | 2024-05-01 | 2024-11-01 | 2023-12-13 | 2024-12-12
BIOMEDICAL WASTE | Satyam | Electronic weighing scale | TIPT-100 | 11464 | FF-BG-BME-EWS-00001 | 2024-07-01 | 2025-01-01 | 2023-12-14 | 2024-12-13
Consultation Room | Rossmax | Adult Weighing Scale | WB101 | 1300002984 | FF-BG-BME-AWS-00005 | 2024-05-01 | 2024-11-01 | 2023-12-13 | 2024-12-12
CSSD | Natsteel | Autoclave Machine | 24HA/E/HP/HY/DD | 1556 | FF-BG-BME-AUT-00002 | 2024-08-01 | 2025-02-01 | 2023-12-13 | 2024-12-12
CSSD | Fabwell Engineers | Autoclave Machine | HCF/4-9/EDD | 11-435 | FF-BG-BME-AUT-00001 | 2024-06-01 | 2025-12-01 | 2023-12-13 | 2024-12-12
CSSD | Seapack | Sealing Machine | CS3H | CS6492 | FF-RR-BME-AUT-00001 | 2024-06-01 | 2025-12-01 | 2023-12-13 | 2024-12-12
3RD FLR OP | Unicare | Vital Sign Monitor | N/A | N/A | FF-BG-BME-VSM-00013 | 2024-05-01 | 2024-11-01 | 2023-12-13 | 2024-12-12
DAY CARE UNIT | Huntleigh | Fetal Doppler | FD1 | FD1PX0377339 -16 | FF-BG-BME-DOP-00012 | 2024-07-01 | 2025-01-01
DAY CARE UNIT | Philips | NST machine | FM20 | DE53032443 | FF-BG-BME-NST-00013 | 2024-08-01 | 2025-02-01 | 2023-12-13 | 2024-12-12
DAY CARE UNIT | Philips | NST machine | FM20 | DE45737366 | FF-BG-BME-NST-00014 | 2024-08-01 | 2025-02-01 | 2023-12-13 | 2024-12-12
DAY CARE UNIT | Philips | NST machine | FM20 | DE53033028 | FF-BG-BME-NST-00015 | 2024-08-01 | 2025-02-01 | 2023-12-13 | 2024-12-12
Disaster | Dr.morepen | Nebulizer | CN-01 | O95038 | FF-BG-BME-NEB-00004 | 2024-07-01 | 2025-01-01 | 2023-12-13 | 2024-12-12
Disaster | Nano | Suction Machine | minic | N/A | FF-BG-BME-SUC-00002 | 2024-07-01 | 2025-01-01 | 2023-12-13 | 2024-12-12
Disaster | OLEX | Fingertip Pulse oximeter | Fingertip | 3570062 | FF-BG-BME-FOX-00001 | 2024-07-01 | 2025-01-01 | 2023-12-14 | 2024-12-13
EOT | Magnatek | Top Light | SPHERE 620/620 | 1706293 | FF-BG-BME-SRL-00010 | 2024-03-01 | 2024-09-01 | 2023-12-13 | 2024-12-12
EOT | Fresenius kabi | syringe pump | AGILIA SP | 24030170 | FF-BG-BME-SYS-00005 | 2024-03-01 | 2024-09-01 | 2023-12-14 | 2024-12-13
EOT | phillips | Patient Monitor | intelliuve MX 430 | DE57206063 | FF-BG-BME-MON-00012 | 2024-03-01 | 2024-09-01 | 2023-12-13 | 2024-12-12
EOT | Wipro GE | Anaesthesia Workstation | 9100 NXT | SPC19190563WA | FF-BG-BME-ANS-00001 |  |  | 2023-12-14 | 2024-12-13
ICU/POW | Nihon Konden | Defibrillator | TEC 5631K | 6619 | FF-BG-BME-DEF-00001 | 2024-04-01 | 2024-10-01 | 2023-12-13 | 2024-12-12
EOT | ERBE | Cautery Machine | VIO300S | 11472230 | FF-BG-BME-CAU-00002 | 2024-05-01 | 2024-11-01 | 2023-12-14 | 2024-12-13
EOT | PHOENIX | Infant warmer | NWS 101 | 12104 | FF-BG-BME-WAR-00005 | 2024-03-01 | 2024-09-01 | 2023-12-14 | 2024-12-13
ER | Mycure | Adult Weighing Scale | WB-101 | 1300002826 | FF-BG-BME-AWS-00006 | 2024-07-01 | 2025-01-01 | 2023-12-13 | 2024-12-12
ER | Rossmax | Adult Weighing Scale | WB-101 | 1200002459 | FF-BG-BME-AWS-00007 | 2024-07-01 | 2025-01-01 | 2023-12-11 | 2024-12-10
ER | Rossmax | Adult Weighing Scale | WB-101 | 1200002545 | FF-BG-BME-AWS-00008 | 2024-07-01 | 2025-01-01 | 2023-12-11 | 2024-12-10
ER | Huntleigh | Fetal Doppler | FD1 | FD1PX34639518 | FF-BG-BME-DOP-00013 | 2024-07-01 | 2025-01-01
ER | Infi | Pulse oximeter | Fingertip | 801131247445 | FF-BG-BME-POX-00005 | 2024-07-01 | 2025-01-01 | 2023-12-11 | 2024-12-10
ER | Nano | Suction Machine | minic | 21F104 | FF-BG-BME-SUC-00003 | 2024-07-01 | 2025-01-01 | 2023-12-13 | 2024-12-12
ER | Unicare | Vital Sign Monitor | N/A | N/A | FF-BG-BME-VSM-00005 | 2024-07-01 | 2025-01-01 | 2023-12-13 | 2024-12-12
ER | Huntleigh | Fetal Doppler | FD1 | (21)FD1PX34897419 | FF-BG-BME-DOP-00014 | 2024-07-01 | 2025-01-01
ER | Nihon Konden | Defibrillator | TEC 5631K | TEC-5631 /8674 | FF-BG-BME-DEF-00002 | 2024-07-01 | 2025-01-01 | 2023-12-13 | 2024-12-12
ER | Nihon Konden | Patient Monitor | PVM -2703K | 118637 | FF-BG-BME-MON-00013 | 2024-07-01 | 2025-01-01 | 2023-12-13 | 2024-12-12
ER | Nihon Konden | Patient Monitor | PVM -2703K | 118638 | FF-BG-BME-MON-00014 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
ER | Nihon Konden | Patient Monitor | PVM -2703K | 118639 | FF-BG-BME-MON-00015 | 2024-07-01 | 2025-01-01 | 2023-12-11 | 2024-12-10
NICU | Nihon Konden | Patient Monitor | PVM -2703K | 117489 | FF-BG-BME-MON-00016 | 2024-07-01 | 2025-01-01 | 2023-12-14 | 2024-12-13
ER | Arjohuntleigh Acare | Patient Bed | HCB-9433-C6 | AZ1922G30027 | FF-BG-BME-EBD-00017 | 2024-07-01 | 2025-01-01 | 2023-12-13 | 2024-12-12
ER | Arjohuntleigh Acare | Patient Bed | HCB-9433-C6 | AZ1922G30028 | FF-BG-BME-EBD-00018 | 2024-07-01 | 2025-01-01 | 2023-12-14 | 2024-12-13
ER | Arjohuntleigh Acare | Patient Bed | HCB-9433-C6 | AZ1922G30010 | FF-BG-BME-EBD-00019 | 2024-07-01 | 2025-01-01 | 2023-12-19 | 2024-12-18
FH1 LAB | N/A | Blood Mixer | N/A | N/A | FF-BG-BME-BMX-00001 | 2024-04-01 | 2024-10-01 | 2023-12-13 | 2024-12-12
FH1 LAB | REMI | Centrifuge | R 12C-REMI | ZKN-37339 | FF-BG-BME-CEN-00002 | 2024-04-01 | 2024-10-01 | 2023-12-22 | 2024-12-22
GFC | Samso | Adult Weighing Scale | N/A | N/A | FF-BG-BME-AWS-00009 | 2024-06-01 | 2024-12-01 | 2023-12-13 | 2024-12-12
GFC | Essae | Baby Weighing Scale | DS252 | G25210265361 | FF-BG-BME-BWS-00006 | 2024-06-01 | 2024-12-01 | 2023-12-11 | 2024-12-10
GFC | spectra | Breast Pump | unimom | FOIN1810250003 | FF-RR-BME-BPM-00002 | 2024-06-01 | 2024-12-01 | 2023-12-11 | 2024-12-10
GFC | spectra | Breast Pump | unimom | CHJ0100003 | FF-RR-BME-BPM-00001 | 2024-06-01 | 2024-12-01 | 2023-12-13 | 2024-12-12
GFC | Huntleigh | Fetal Doppler | FD1 | FD1PX35378122 | FF-BG-BME-DOP-00015 | 2024-06-01 | 2024-12-01
GFC | Philips | NST machine | FM20 | DE45737395 | FF-BG-BME-NST-00016 | 2024-08-01 | 2025-02-01 | 2023-12-13 | 2024-12-12
GFC | PHOENIX | Phototherapy | brilliance pro | 5437 | FF-BG-BME-PHO-00010 | 2024-04-01 | 2025-10-01 | 2023-12-13 | 2024-12-12
GFC | PHOENIX | Phototherapy | brilliance pro | 5286 | FF-BG-BME-PHO-00011 | 2024-04-01 | 2025-10-01 | 2023-12-13 | 2024-12-12
GFC | PHOENIX | Phototherapy | brilliance pro | 5441 | FF-BG-BME-PHO-00012 | 2024-04-01 | 2025-10-01 | 2023-12-13 | 2024-12-12
GFC | PHOENIX | Phototherapy | brilliance pro | 5311 | FF-BG-BME-PHO-00013 | 2024-04-01 | 2025-10-01 | 2023-12-13 | 2024-12-12
GFC | PHOENIX | Phototherapy | brilliance pro | 5403 | FF-BG-BME-PHO-00014 | 2024-04-01 | 2025-10-01 | 2023-12-13 | 2024-12-12
GFC | PHOENIX | Phototherapy | brilliance pro | 5136 | FF-BG-BME-PHO-00015 | 2024-04-01 | 2025-10-01 | 2023-12-13 | 2024-12-12
Ground Floor OP | Tulaman | Adult Weighing Scale | EPS | N/A | FF-BG-BME-AWS-00010 | 2024-05-01 | 2024-11-01 | 2023-12-13 | 2024-12-12
Ground Floor OP | Huntleigh | Fetal Doppler | FD1 | FD1PX34388217 | FF-BG-BME-DOP-00016 | 2024-05-01 | 2024-11-01
Ground Floor OP | Huntleigh | Fetal Doppler | FD1 | FD1PX30201121-06 | FF-BG-BME-DOP-00017 | 2024-05-01 | 2024-11-01
Ground Floor OP | Huntleigh | Fetal Doppler | FD1 | NA | FF-BG-BME-DOP-00018 | 2024-05-01 | 2024-11-01
Ground Floor OP | Unicare | Vital Sign Monitor | N/A | N/A | FF-BG-BME-VSM-00010 | 2024-05-01 | 2024-11-01 | 2023-12-11 | 2024-12-10
Ground Floor OP | astra | Vital Sign Monitor | N/A | N/A | FF-BG-BME-VSM-00009 | 2024-05-01 | 2024-11-01 | 2023-12-11 | 2024-12-10
Ground Floor OP | astra | Vital Sign Monitor | N/A | N/A | FF-BG-BME-VSM-00008 | 2024-05-01 | 2024-11-01 | 2023-12-11 | 2024-12-10
Ground Floor OP | astra | Vital Sign Monitor | N/A | N/A | FF-BG-BME-VSM-00007 | 2024-05-01 | 2024-11-01 | 2023-12-11 | 2024-12-10
Ground Floor OP | Huntleigh | Fetal Doppler | FD1 | N/A | FF-BG-BME-DOP-00019 | 2024-05-01 | 2024-11-01
Ground Floor OP | Huntleigh | Fetal Doppler | FD1 | NA | FF-BG-BME-DOP-00020 | 2024-05-01 | 2024-11-01
Ground Floor OP | Huntleigh | Fetal Doppler | FD1 | NA | FF-BG-BME-DOP-00021 | 2024-05-01 | 2024-11-01
Ground Floor OP | A&D Medical | Digital BP Monitor | UA611 | NA | FF-BG-BME-BPM-00002 | 2024-05-01 | 2024-11-01 | 2023-12-11 | 2024-12-10
Ground Floor OP | A&D Medical | Digital BP Monitor | UA611 | NA | FF-BG-BME-BPM-00003 | 2024-05-01 | 2024-11-01 | 2023-12-11 | 2024-12-10
Ground Floor OP | A&D Medical | Digital BP Monitor | UA611 | NA | FF-BG-BME-BPM-00004 | 2024-05-01 | 2024-11-01 | 2023-12-11 | 2024-12-10
ICU/POW | spectra | Breast Pump | unimom | FOIN1810250016 | FF-RR-BME-BPM-00007 | 2024-03-01 | 2024-09-01 | 2023-12-11 | 2024-12-10
ICU/POW | Abbott | ABG Machine | I-Stat | 326424 | FF-BG-BME-ABG-00001 |  |  | 2023-12-11 | 2024-12-10
3RD FLR LW | Roche | ABG Machine | Cobas B221 | 27159 | FF-BG-BME-ABG-00002
ICU/POW | astra | Vital Sign Monitor | N/A | N/A | FF-BG-BME-VSM-00016 | 2024-03-01 | 2024-09-01 | 2023-12-11 | 2024-12-10
ICU/POW | Krups | Adult Weighing Scale | N/A | N/A | FF-BG-BME-AWS-00011 | 2024-03-01 | 2024-09-01 | 2023-12-11 | 2024-12-10
ICU/POW | Huntleigh | Air Bed | Alpha Bed | A96025446 | FF-BG-BME-ABD-00001 | 2024-03-01 | 2024-09-01 | 2023-12-11 | 2024-12-10
ICU/POW | Huntleigh | Air Bed | Alpha Bed | A96020165 | FF-BG-BME-ABD-00002 | 2024-03-01 | 2024-09-01 | 2023-12-13 | 2024-12-12
ICU/POW | Zoy | Air Bed | Alpha Bed | 26122853 | FF-BG-BME-ABD-00003 | 2024-03-01 | 2024-09-01 | 2023-12-11 | 2024-12-10
ICU/POW | Phoenix | Embrace Nest | N/A | 16100427 | FF-BG-BME-EMB-00001 | 2024-03-01 | 2024-09-01 | 2023-12-11 | 2024-12-10
ICU/POW | Phoenix | Embrace Nest | N/A | 16100548 | FF-BG-BME-EMB-00002 | 2024-03-01 | 2024-09-01 | 2023-12-11 | 2024-12-10
ICU/POW | Phoenix | Embrace Nest | N/A | 16100502 | FF-BG-BME-EMB-00003 | 2024-03-01 | 2024-09-01 | 2023-12-13 | 2024-12-12
ICU/POW | Phoenix | Embrace Nest | N/A | 16100546 | FF-BG-BME-EMB-00004 | 2024-03-01 | 2024-09-01 | 2023-12-11 | 2024-12-10
ICU/POW | JMS | Infusion Pump | OT-701 | 17751 | FF-BG-BME-INF-00013 | 2024-03-01 | 2024-09-01 | 2023-12-11 | 2024-12-10
ICU/POW | JMS | Infusion Pump | OT-701 | 35802 | FF-BG-BME-INF-00014 | 2024-03-01 | 2024-09-01 | 2023-12-11 | 2024-12-10
ICU/POW | Arjo huntleigh | Patient Bed | AG7 | AZ1335G30074 | FF-BG-BME-EBD-00020 | 2024-03-01 | 2024-09-01 | 2023-12-19 | 2024-12-18
ICU/POW | Arjo huntleigh | Patient Bed | AG7 | AZ1335G30006 | FF-BG-BME-EBD-00021 | 2024-03-01 | 2024-09-01 | 2023-12-19 | 2024-12-18
ICU/POW | Arjo huntleigh | Patient Bed | AG7 | AZ1335G30030 | FF-BG-BME-EBD-00022 | 2024-03-01 | 2024-09-01 | 2023-12-19 | 2024-12-18
ICU/POW | Arjo huntleigh | Patient Bed | AG7 | AZ1335G30005 | FF-BG-BME-EBD-00023 | 2024-03-01 | 2024-09-01 | 2023-12-19 | 2024-12-18
ICU/POW | Arjo huntleigh | Patient Bed | AG7 | AZ1335G30045 | FF-BG-BME-EBD-00024 | 2024-03-01 | 2024-09-01 | 2023-12-19 | 2024-12-18
ICU/POW | Arjo huntleigh | Patient Bed | AG7 | AZ1335G30033 | FF-BG-BME-EBD-00025 | 2024-03-01 | 2024-09-01 | 2023-12-14 | 2024-12-13
ICU/POW | Philips | Patient Monitor | MX600 | DE12502532 | FF-BG-BME-MON-00017 | 2024-03-01 | 2024-09-01 | 2023-12-15 | 2024-12-14
ICU/POW | Unicare | Patient Monitor | F8/S | QU593816 | FF-BG-BME-MON-00018 | 2024-03-01 | 2024-09-01 | 2023-12-15 | 2024-12-14
ICU/POW | Unicare | Patient Monitor | F8/S | QU591612 | FF-BG-BME-MON-00019 | 2024-03-01 | 2024-09-01 | 2023-12-15 | 2024-12-14
ICU/POW | Philips | Patient Monitor | MP5 | DE748098660 | FF-BG-BME-MON-00020 | 2024-03-01 | 2024-09-01 | 2023-12-15 | 2024-12-14
ICU/POW | unicare | Patient Monitor | F8/S | 510U234616 | FF-BG-BME-MON-00022 | 2024-03-01 | 2024-09-01 | 2023-12-19 | 2024-12-18
ICU/POW | unicare | Patient Monitor | F8/S | 510U219833 | FF-BG-BME-MON-00023 | 2024-03-01 | 2024-09-01 | 2023-12-15 | 2024-12-14
ICU/POW | Coccon | Patient Warmer | CWS 4000 | CWS4256814 | FF-BG-BME-BWM-00001 | 2024-03-01 | 2024-09-01 | 2023-12-15 | 2024-12-14
ICU/POW | Covedian | SCD Machine | 295251 | V1353579SX | FF-BG-BME-SCD-00001 | 2024-03-01 | 2024-09-01 | 2023-12-19 | 2024-12-18
ICU/POW | Nano | Suction Machine | minic | N/A | FF-BG-BME-SUC-00004 | 2024-03-01 | 2024-09-01 | 2023-12-13 | 2024-12-12
ICU/POW | Fresenius | syringe pump | Pilot A2 | 016099-19291762 | FF-BG-BME-SYS-00006 | 2024-03-01 | 2024-09-01 | 2023-12-15 | 2024-12-14
ICU/POW | Fresenius | syringe pump | Injectomat Agilia | 018090-196586904 | FF-BG-BME-SYS-00007 | 2024-03-01 | 2024-09-01 | 2023-12-14 | 2024-12-13
ICU/POW | Fresenius | syringe pump | Injectomat Agilia | 018090-20316042 | FF-BG-BME-SYS-00008 | 2024-03-01 | 2024-09-01 | 2023-12-15 | 2024-12-14
ICU/POW | Fresenius | syringe pump | Injectomat Agilia | 018090-20316037 | FF-BG-BME-SYS-00009 | 2024-03-01 | 2024-09-01 | 2023-12-14 | 2024-12-13
ICU/POW | Fresenius | syringe pump | Injectomat Agilia | 018090-22381633 | FF-BG-BME-SYS-00010 | 2024-03-01 | 2024-09-01 | 2023-12-14 | 2024-12-13
ICU/POW | Arjo huntleigh | Patient Bed | AG7 | AZ1335G30072 | FF-BG-BME-EBD-00026 | 2024-03-01 | 2024-09-01 | 2023-12-15 | 2024-12-14
ICU/POW | Huntleigh | Fetal Doppler | FD1 | (21)FD1PX34637518 | FF-BG-BME-DOP-00022 | 2024-03-01 | 2024-09-01
ICU/POW | PHILLIPS | ECG Machine | PAGEWRITER TC 20 | CN71915550 | FF-BG-BME-ECG-00001 | 2024-03-01 | 2024-09-01 | 2023-12-11 | 2024-12-10
ICU/POW | GE | Ventilator | Carescape R860 | CBRZ06323 | FF-BG-BME-VEN-00001 | 2024-07-01 | 2025-01-01 | 2023-12-11 | 2024-12-10
NICU | spectra | Breast Pump | unimom | CHJO100034 | FF-RR-BME-BPM-00008 | 2024-07-01 | 2025-01-01 | 2023-12-14 | 2024-12-13
NICU | spectra | Breast Pump | unimom | IND13020199 | FF-RR-BME-BPM-00009 | 2024-07-01 | 2025-01-01 | 2023-12-14 | 2024-12-13
NICU | Phoenix | Embrace Nest | N/A | 16100552 | FF-BG-BME-EMB-00005 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | Phoenix | Embrace Nest | N/A | 16100415 | FF-BG-BME-EMB-00006 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | Biomed | Blender | Biomed | BDF04898 | FF-BG-BME-BLN-00001 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | Biomed | Blender | Biomed | BDF04919 | FF-BG-BME-BLN-00002 | 2024-07-01 | 2025-01-01 | 2023-12-14 | 2024-12-13
NICU | Intermed | Blender | N/A | 10-2011-05-23875 | FF-BG-BME-BLN-00003 | 2024-07-01 | 2025-01-01 | 2023-12-14 | 2024-12-13
NICU | Fisher & Paykel | Humidifier | MR 700 | 9670AEX03821 | FF-BG-BME-HUM-00001 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | Fisher & Paykel | Humidifier | MR 850 | 211207004563 | FF-BG-BME-HUM-00002 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | Fisher & Paykel | Humidifier | MR 850 | 140729219119 | FF-BG-BME-HUM-00003 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | Fisher & Paykel | Humidifier | MR 850 | 140729219124 | FF-BG-BME-HUM-00004 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | Phoenix | Infant Warmer | NWS-101 | 1701 | FF-BG-BME-WAR-00006 | 2024-07-01 | 2025-01-01 | 2023-12-14 | 2024-12-13
NICU | Phoenix | Infant Warmer | NWS-101 | 1699 | FF-BG-BME-WAR-00007 | 2024-07-01 | 2025-01-01 | 2023-12-14 | 2024-12-13
NICU | Phoenix | Infant Warmer | NWS-101 | 1703 | FF-BG-BME-WAR-00008 | 2024-07-01 | 2025-01-01 | 2023-12-11 | 2024-12-10
NICU | Phoenix | Infant Warmer | NWS 101 | 7821 | FF-BG-BME-WAR-00009 | 2024-07-01 | 2025-01-01 | 2023-12-19 | 2024-12-18
NICU | Phoenix | Infant Warmer | NWS 101 | 7822 | FF-BG-BME-WAR-00010 | 2024-07-01 | 2025-01-01 | 2023-12-14 | 2024-12-13
NICU | Phoenix | Infant Warmer | NWS 101 | 7823 | FF-BG-BME-WAR-00011 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | Phoenix | Infant Warmer | NWS 101 | 7824 | FF-BG-BME-WAR-00012 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | Phoenix | Infant warmer | NWS 101 | 7825 | FF-BG-BME-WAR-00013 | 2024-07-01 | 2025-01-01 | 2023-12-14 | 2024-12-13
NICU | JMS | Infusion Pump | OT-701 | 27318 | FF-BG-BME-INF-00015 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | JMS | Infusion Pump | OT-701 | 27356 | FF-BG-BME-INF-00016 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | JMS | Infusion Pump | OT-701 | 27420 | FF-BG-BME-INF-00017 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | JMS | Infusion Pump | OT-701 | O7031 | FF-BG-BME-INF-00018 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | JMS | Infusion Pump | OT-701 | O4135 | FF-BG-BME-INF-00019 | 2024-07-01 | 2025-01-01 | 2023-12-19 | 2024-12-18
NICU | JMS | Infusion Pump | OT-701 | 10047 | FF-BG-BME-INF-00020 | 2024-07-01 | 2025-01-01 | 2023-12-19 | 2024-12-18
NICU | JMS | Infusion Pump | OT-701 | 37814 | FF-BG-BME-INF-00021 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | JMS | Infusion Pump | OT-701 | 37817 | FF-BG-BME-INF-00022 | 2024-07-01 | 2025-01-01 | 2023-12-12 | 2024-12-11
NICU | JMS | Infusion Pump | OT-701 | 17749 | FF-BG-BME-INF-00023 | 2024-07-01 | 2025-01-01 | 2023-12-14 | 2024-12-13
NICU | JMS | Infusion Pump | OT-701 | 17750 | FF-BG-BME-INF-00024 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | Phoenix | Phototherapy | brilliance pro | 2858 | FF-BG-BME-PHO-00016 | 2024-04-01 | 2025-10-01 | 2023-12-15 | 2024-12-14
NICU | Phoenix | Phototherapy | brilliance pro | 2857 | FF-BG-BME-PHO-00017 | 2024-04-01 | 2025-10-01 | 2023-12-15 | 2024-12-14
GFC | Omron | Nebulizer | NE-C106 | 202310017735V | FF-BG-BME-NEB-00005 | 2024-06-01 | 2024-12-01 | 2023-12-13 | 2024-12-12
NICU | OMRON | Nebulizer | COMPARE | 207205 | FF-BG-BME-NEB-00006 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | PHILLIPS | Patient Monitor | CM10 | CN54507422 | FF-BG-BME-MON-00024 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | Fresenius | syringe pump | Injectomat Agilia | 018090-21211649 | FF-BG-BME-SYS-00011 | 2024-07-01 | 2025-01-01 | 2023-12-14 | 2024-12-13
NICU | Orange | syringe pump | Flow Sens Prima | 13051354Z | FF-BG-BME-SYS-00012 | 2024-07-01 | 2025-01-01 | 2023-12-14 | 2024-12-13
NICU | Orange | syringe pump | Flow Sens Prima | 13051360Z | FF-BG-BME-SYS-00013 | 2024-07-01 | 2025-01-01 | 2023-12-12 | 2024-12-11
NICU | Orange | syringe pump | Flow Sens Prima | 13051365Z | FF-BG-BME-SYS-00014 | 2024-07-01 | 2025-01-01 | 2023-12-14 | 2024-12-13
NICU | Orange | syringe pump | Flow Sens Prima | 13051356Z | FF-BG-BME-SYS-00015 | 2024-07-01 | 2025-01-01 | 2023-12-19 | 2024-12-18
NICU | Orange | syringe pump | Flow Sens Prima | 13051358Z | FF-BG-BME-SYS-00016 | 2024-07-01 | 2025-01-01 | 2023-12-14 | 2024-12-13
NICU | PHILLIPS | Patient Monitor | CM10 | CN62601611 | FF-BG-BME-MON-00025 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | DRAGER | Jaundice meter | JM-103 | B3503061 | FF-BG-BME-JND-00001 | 2024-07-01 | 2025-01-01 | 2023-09-14 | 2024-09-13
NICU | NIHON KOHDEN | Patient Monitor | PVM 2703 | 116470 | FF-BG-BME-MON-00026 | 2024-07-01 | 2025-01-01 | 2023-12-19 | 2024-12-18
NICU | NIHON KOHDEN | Patient Monitor | PVM 2703 | 116471 | FF-BG-BME-MON-00027 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | PHOENIX | Infant warmer | NWS 101 | 12105 | FF-BG-BME-WAR-00014 | 2024-07-01 | 2025-01-01 | 2023-12-12 | 2024-12-11
NICU | Phoenix | Phototherapy | brilliance pro | 5046 | FF-BG-BME-PHO-00018 | 2024-04-01 | 2025-10-01 | 2023-12-15 | 2024-12-14
NICU | Phoenix | Phototherapy | brilliance pro | 5013 | FF-BG-BME-PHO-00019 | 2024-04-01 | 2025-10-01 | 2023-12-15 | 2024-12-14
NICU | Phoenix | Phototherapy | brilliance pro | 5038 | FF-BG-BME-PHO-00020 | 2024-04-01 | 2025-10-01 | 2023-12-15 | 2024-12-14
NICU | Phoenix | Phototherapy | brilliance pro | 5010 | FF-BG-BME-PHO-00021 | 2024-04-01 | 2025-10-01 | 2023-12-15 | 2024-12-14
NICU | Phoenix | Phototherapy | brilliance pro | 4977 | FF-BG-BME-PHO-00022 | 2024-04-01 | 2025-10-01 | 2023-12-15 | 2024-12-14
NICU | MASIMO | Pulse oximeter | RAD 97 | 3000034672 | FF-BG-BME-POX-00010 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | MASIMO | Pulse oximeter | RAD 97 | 3000034594 | FF-BG-BME-POX-00011 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | MASIMO | Pulse oximeter | RAD 97 | 3000034629 | FF-BG-BME-POX-00012 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | FLEXICARE | Humidifier | FL9000 | FED23IN1809105 | FF-BG-BME-HUM-00005 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | FLEXICARE | Humidifier | FL9000 | FED23IN1809106 | FF-BG-BME-HUM-00006 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | FLEXICARE | Humidifier | FL9000 | FED23IN1809107 | FF-BG-BME-HUM-00007 | 2024-07-01 | 2025-01-01 | 2023-12-19 | 2024-12-18
NICU | FLEXICARE | Blender | carefusion | 10-2019-01-35392 | FF-BG-BME-BLN-00004 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | FLEXICARE | Blender | carefusion | 10-2019-01-35396 | FF-BG-BME-BLN-00005 | 2024-07-01 | 2025-01-01 | 2023-12-12 | 2024-12-11
NICU | FLEXICARE | Blender | carefusion | 10-2019-01-35397 | FF-BG-BME-BLN-00006 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | GE | Ventilator | SLE 5000 | 58204 | FF-BG-BME-VEN-00003 | 2024-03-01 | 2024-09-01 | 2023-12-14 | 2024-12-13
NICU | Fisher & Paykel | Humidifier | MR 850 | 180417353799 | FF-BG-BME-HUM-00008 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | Fresenius | syringe pump | Injectomat Agilia | 24121878 | FF-BG-BME-SYS-00017 | 2024-07-01 | 2025-01-01 | 2023-12-14 | 2024-12-13
NICU | Fresenius | syringe pump | Injectomat Agilia | 24121157 | FF-BG-BME-SYS-00018 | 2024-07-01 | 2025-01-01 | 2023-12-14 | 2024-12-13
NICU | Fresenius | syringe pump | Injectomat Agilia | 23880245 | FF-BG-BME-SYS-00019 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | Fresenius | syringe pump | Injectomat Agilia | 24121885 | FF-BG-BME-SYS-00020 | 2024-07-01 | 2025-01-01 | 2023-12-14 | 2024-12-13
NICU | Fresenius | syringe pump | Injectomat Agilia | 23978425 | FF-BG-BME-SYS-00021 | 2024-07-01 | 2025-01-01 | 2023-12-14 | 2024-12-13
NICU | Fresenius | syringe pump | Injectomat Agilia | 23978852 | FF-BG-BME-SYS-00022 | 2024-07-01 | 2025-01-01 | 2023-12-14 | 2024-12-13
NICU | Fresenius | syringe pump | Injectomat Agilia | 24121153 | FF-BG-BME-SYS-00023 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | Fresenius | syringe pump | Injectomat Agilia | 24121873 | FF-BG-BME-SYS-00024 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | Fresenius | syringe pump | Injectomat Agilia | 24120813 | FF-BG-BME-SYS-00025 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | Fresenius | syringe pump | Injectomat Agilia | 24121874 | FF-BG-BME-SYS-00026 | 2024-07-01 | 2025-01-01 | 2023-12-14 | 2024-12-13
NICU | WEIGHMAN | mini weighing scale | smart Aqua | 2019/7532 | FF-BG-BME-MWS-00002 | 2024-07-01 | 2025-01-01 | 2023-12-14 | 2024-12-13
NICU | PHOENIX | Infant Warmer | NWS101 | 14143 | FF-BG-BME-WAR-00015 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | PHOENIX | Infant Warmer | NWS101 | 14142 | FF-BG-BME-WAR-00016 | 2024-07-01 | 2025-01-01 | 2023-12-14 | 2024-12-13
NICU | PHOENIX | Infant Warmer | NWS101 | 14144 | FF-BG-BME-WAR-00017 | 2024-07-01 | 2025-01-01 | 2023-12-14 | 2024-12-13
NICU | PHOENIX | Infant warmer | NWS101 | 14145 | FF-BG-BME-WAR-00018 | 2024-07-01 | 2025-01-01 | 2023-12-14 | 2024-12-13
NICU | RESCHOLAR SCIENTIFIC | LAMINAR AIRFLOW | LAF RH-51-01 | 4811 | FF-BG-BME-LAF-00001 | 2024-07-01 | 2025-01-01 | 2023-11-15 | 2024-11-14
NICU | MASIMO | Pulse oximeter | Rad 97 | 3000048612 | FF-BG-BME-POX-00014 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | MASIMO | Pulse oximeter | Rad 97 | 3000048605 | FF-BG-BME-POX-00015 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | essae | Baby Weighing Scale | BS-250 | G25019678124 | FF-BG-BME-BWS-00008 | 2024-07-01 | 2025-01-01 | 2023-12-14 | 2024-12-13
OT | JMS | Infusion Pump | OT-701 | 37814 | FF-BG-BME-INF-00025 | 2024-03-01 | 2024-09-01 | 2023-12-14 | 2024-12-13
NICU | JMS | Infusion Pump | OT-701 | 37817 | FF-BG-BME-INF-00026 | 2024-07-01 | 2025-01-01 | 2023-12-12 | 2024-12-11
NICU | Fisher & Paykel | Humidifier | MR850 | 220527608130 | FF-BG-BME-HUM-00009 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | MASIMO | Pulse oximeter | RADICAL 7 | 1000117892 | FF-BG-BME-POX-00017 | 2024-07-01 | 2025-01-01 | 2023-12-14 | 2024-12-13
OT | Fisher & Paykel | Neopuff | RD900AEU | 160121004848 | FF-BG-BME-TPR-00005 | 2024-03-01 | 2024-09-01 | 2023-12-12 | 2024-12-11
OT | Ohmeda | Anaesthesia Workstation | Aestiva 5 | AMVL00150 | FF-BG-BME-ANS-00002 | 2024-03-01 | 2024-09-01 | 2023-12-14 | 2024-12-13
OT | Essae | Baby Weighing Scale | DS252 | G25208197379 | FF-BG-BME-BWS-00009 | 2024-03-01 | 2024-09-01 | 2023-12-14 | 2024-12-13
OT | Boyletec | Boyle's Apparatus | N/A | N/A | FF-BG-BME-BOY-00002 | 2024-03-01 | 2024-09-01 | 2023-12-14 | 2024-12-13
OT | N/A | Boyle's Apparatus | N/A | N/A | FF-BG-BME-BOY-00001 | 2024-03-01 | 2024-09-01 | 2023-12-14 | 2024-12-13
OT | ERBE | Cautery Machine | VIO300S | 11542569 | FF-BG-BME-CAU-00005 | 2024-05-01 | 2024-11-01 | 2023-12-14 | 2024-12-13
OT | ERBE | Cautery Machine | VIO300S | 11412845 | FF-BG-BME-CAU-00003 | 2024-05-01 | 2024-11-01 | 2023-12-14 | 2024-12-13
OT | ERBE | Cautery Machine | VIO300S | 11412516 | FF-BG-BME-CAU-00004 | 2024-05-01 | 2024-11-01 | 2023-12-14 | 2024-12-13
OT | Huntleigh | Fetal Doppler | FD1 | FD1PX34642018 | FF-BG-BME-DOP-00023 | 2024-03-01 | 2024-09-01
OT | Phoenix | Infant warmer | NWS101 | 1812 | FF-BG-BME-WAR-00019 | 2024-03-01 | 2024-09-01 | 2023-12-13 | 2024-12-12
OT | magnatek | OT Table | multistar 4s | 110417 | FF-BG-BME-SRT-00001 | 2024-03-01 | 2024-09-01 | 2023-12-14 | 2024-12-13
OT | magnatek | OT Table | multistar 4s | 30717 | FF-BG-BME-SRT-00002 | 2024-03-01 | 2024-09-01 | 2023-12-14 | 2024-12-13
OT | magnatek | OT Table | multistar 4s | 121018 | FF-BG-BME-SRT-00003 | 2024-03-01 | 2024-09-01 | 2023-12-14 | 2024-12-13
OT | Manual | OT Table | NA | NA | FF-BG-BME-SRT-00004 | 2024-03-01 | 2024-09-01 | 2023-12-14 | 2024-12-13
ICU/POW | Unicare | Patient Monitor | F8/S | 510U227416 | FF-BG-BME-MON-00029 | 2024-03-01 | 2024-09-01 | 2023-12-15 | 2024-12-14
OT | PHILIPS | Patient Monitor | MX 430 | DE54800965 | FF-BG-BME-MON-00031 | 2024-03-01 | 2024-09-01 | 2023-12-14 | 2024-12-13
OT | N/A | Suction Machine | medflo | N/A | FF-BG-BME-SUC-00005 | 2024-03-01 | 2024-09-01 | 2023-12-13 | 2024-12-12
OT | Supreme Enterprises | Suction Machine | N/A | N/A | FF-BG-BME-SUC-00006 | 2024-03-01 | 2024-09-01 | 2023-12-13 | 2024-12-12
OT | N/A | suction machine | medflo | N/A | FF-BG-BME-SUC-00007 | 2024-03-01 | 2024-09-01 | 2023-12-14 | 2024-12-13
OT | Fresenius kabi | syringe pump | Injectomat Agilia | 23138580 | FF-BG-BME-SYS-00027 | 2024-03-01 | 2024-09-01 | 2023-12-14 | 2024-12-13
OT | Fresenius kabi | syringe pump | Injectomat Agilia | 23138606 | FF-BG-BME-SYS-00028 | 2024-03-01 | 2024-09-01 | 2023-12-13 | 2024-12-12
OT | Fresenius kabi | syringe pump | Injectomat Agilia | 23977652 | FF-BG-BME-SYS-00029 | 2024-03-01 | 2024-09-01 | 2023-12-11 | 2024-12-10
OT | Magnatek | Top Light | SPHERE 620/620 | 18040367 | FF-BG-BME-SRL-00011 | 2024-03-01 | 2024-09-01 | 2023-12-11 | 2024-12-10
OT | Steris | Top Light | N/A | 11011608491 | FF-BG-BME-SRL-00012 | 2024-03-01 | 2024-09-01 | 2023-12-11 | 2024-12-10
OT | Alm | Top Light | Axcel | N/A | FF-BG-BME-SRL-00013 | 2024-03-01 | 2024-09-01 | 2023-12-11 | 2024-12-10
OT | Huntleigh | Fetal Doppler | FD1 | (21)FD1PX34636118 | FF-BG-BME-DOP-00024 | 2024-03-01 | 2024-09-01
OT | N/A | suction machine | medflo | NA | FF-BG-BME-SUC-00008 | 2024-03-01 | 2024-09-01 | 2023-12-14 | 2024-12-13
OT | smart | Hanging Weighing Machine | HAXHS | 17723 | FF-BG-BME-HWS-00001 | 2024-03-01 | 2024-09-01 | 2023-12-14 | 2024-12-13
OT | NA | Fumigation Machine | NA | na | FF-BG-BME-FMG-00001 | 2024-03-01 | 2024-09-01 | 2023-12-14 | 2024-12-13
OT | Neo heal | Patient warmer | CSZ Genthern | 194-13513310 | FF-BG-BME-BWM-00002 | 2024-03-01 | 2024-09-01 | 2023-12-14 | 2024-12-13
OT | Neo heal | Patient warmer | CSZ Genthern | 194 - 13515686 | FF-BG-BME-BWM-00003 | 2024-03-01 | 2024-09-01 | 2023-12-14 | 2024-12-13
OT | Neo heal | Patient warmer | CSZ Genthern | 194- 13515685 | FF-BG-BME-BWM-00004 | 2024-03-01 | 2024-09-01 | 2023-12-14 | 2024-12-13
OT | STORZ | Video Laryngoscope | KARL | VQ20168 | FF-BG-BME-VLS-00001 | 2024-03-01 | 2024-09-01 | 2023-12-15 | 2024-12-14
OT | venky | suction machine | VTS- DLS | 200722403 | FF-BG-BME-SUC-00009 | 2024-03-01 | 2024-09-01 | 2023-12-14 | 2024-12-13
Pediatric OP | Samso | Adult Weighing Scale | N/A | N/A | FF-BG-BME-AWS-00013 | 2024-05-01 | 2024-11-01 | 2023-12-14 | 2024-12-13
Pediatric OP | Samso | Adult Weighing Scale | N/A | N/A | FF-BG-BME-AWS-00012 | 2024-05-01 | 2024-11-01 | 2023-12-14 | 2024-12-13
Pediatric OP | Essae | Baby Weighing Scale | DS252 | G2520448312 | FF-BG-BME-BWS-00010 | 2024-05-01 | 2024-11-01 | 2023-12-15 | 2024-12-14
Pediatric OP | drager (STAND -BY ) | Jaundice meter | JM-105 | H3500288' | FF-BG-BME-JND-00002 | 2024-07-01 | 2025-01-01 | 2024-01-12 | 2025-01-11
SPR | Huntleigh | Fetal Doppler | FD1 | FD1X110254323 | FF-BG-BME-DOP-00027 | 2024-06-01 | 2024-12-01
SPR | spectra | Breast Pump | unimom | CHJ0100032 | FF-RR-BME-BPM-00010 | 2024-06-01 | 2024-12-01 | 2023-12-11 | 2024-12-10
Physiotherapy | BMS | Muscle stimulator | Physiotim | 8511 | FF-BG-BME-MUS-00001 | 2024-04-01 | 2024-10-01 | 2023-12-14 | 2024-12-13
SPR | Phoenix | Phototherapy | CFL-101 | 4315 | FF-BG-BME-PHO-00023 | 2024-04-01 | 2025-10-01 | 2023-12-11 | 2024-12-10
SPR | Phoenix | Phototherapy | CFL-101 | 6012 | FF-BG-BME-PHO-00024 | 2024-04-01 | 2025-10-01 | 2023-12-11 | 2024-12-10
Physiotherapy | BMS | Ultrasound Therapy Unit | Digital | 8477 | FF-BG-BME-USP-00001 | 2024-04-01 | 2024-10-01 | 2023-12-14 | 2024-12-13
SPR | Unicare | Vital Sign Monitor | N/A | N/A | FF-BG-BME-VSM-00011 | 2024-06-01 | 2024-12-01 | 2023-12-11 | 2024-12-10
SPR | spectra | Breast Pump | unimom | IN818120061 | FF-RR-BME-BPM-00011 | 2024-06-01 | 2024-12-01 | 2023-12-11 | 2024-12-10
SPR | OMRON | Nebulizer | COMPARE | 212092 | FF-BG-BME-NEB-00007 | 2024-06-01 | 2024-12-01 | 2023-12-11 | 2024-12-10
SPR | KOHINOOR | Adult Weighing Scale | N/A | N/A | FF-BG-BME-AWS-00014 | 2024-06-01 | 2024-12-01 | 2023-12-11 | 2024-12-10
SPR | PHOENIX | Phototherapy | brilliance pro | 6066 | FF-BG-BME-PHO-00025 | 2024-04-01 | 2025-10-01 | 2023-12-11 | 2024-12-10
SPR | PHOENIX | Phototherapy | brilliance pro | 6021 | FF-BG-BME-PHO-00026 | 2024-04-01 | 2025-10-01 | 2023-12-11 | 2024-12-10
SPR | PHOENIX | Phototherapy | brilliance pro | 5982 | FF-BG-BME-PHO-00027 | 2024-04-01 | 2025-10-01 | 2023-12-11 | 2024-12-10
SPR | PHOENIX | Phototherapy | brilliance pro | 6059 | FF-BG-BME-PHO-00028 | 2024-04-01 | 2025-10-01 | 2023-12-11 | 2024-12-10
SPR | PHOENIX | Phototherapy | brilliance pro | 5971 | FF-BG-BME-PHO-00029 | 2024-04-01 | 2025-10-01 | 2023-12-11 | 2024-12-10
SPR | essae | Baby Weighing Scale | BS-250 | G25019678123 | FF-BG-BME-BWS-00012 | 2024-06-01 | 2024-12-01 | 2023-12-11 | 2024-12-10
NICU | welch allyn | ophthalmoscope | NA | NA | FF- BG-BME -OPH-00001 | 2024-07-01 | 2025-01-01
NICU | welch allyn | ophthalmoscope | NA | NA | FF- BG-BME -OPH-00002 | 2024-07-01 | 2025-01-01
NICU | welch allyn | ophthalmoscope | NA | NA | FF- BG-BME -OPH-00003 | 2024-07-01 | 2025-01-01
NICU | welch allyn | otoscope | NA | NA | FF-BG-BME -OTO 00001 | 2024-07-01 | 2025-01-01
NICU | welch allyn | otoscope | NA | NA | FF-BG-BME -OTO 00002 | 2024-07-01 | 2025-01-01
NICU | GE | Ultrasound scan Machine | Logiq P9 | LP9003470 | FF-BG-BME-USG-00006 | 2024-03-01 | 2024-09-01 | 2023-12-14 | 2024-12-13
Scan Room | Medialogic solutions | Scan Bed | ERGO | N/A | FF-BG-BME-SBD-00001 | 2024-05-01 | 2024-11-01 | 2023-12-14 | 2024-12-13
1ST FLR NS | na | stethescope | na | na | NA | 2024-06-01 | 2024-12-01
1ST FLR NS | NA | torch | NA | NA | NA | 2024-06-01 | 2024-12-01
NICU | NA | stethoscope | NA | NA | NA | 2024-07-01 | 2025-01-01
ER | GE | Ultrasound scan Machine | VOLUSON S8 | 318736SU6 | FF-BG-BME-USG-00005 | 2024-03-01 | 2024-09-01 | 2023-12-13 | 2024-12-12
Scan Room | GE | Ultrasound scan Machine | Voluson S10 | VSX802076 | FF-BG-BME-USG-00001 | 2024-03-01 | 2024-09-01 | 2023-12-13 | 2024-12-12
NICU | GE | Ultrasound scan Machine | Versana active | 6129271WXO | FF-BG-BME-USG-00002 | 2024-07-01 | 2025-01-01 | 2023-12-14 | 2024-12-13
3RD FLR LW | Roche | Glucometer | Accu-chek | 68828669731 | FF-RR-BME-GLU-00001 | 2024-08-01 | 2025-02-01 | 2024-08-15 | 2024-12-14
3RD FLR LW | Roche | Glucometer | Accu-Check | 68802704284 | FF-RR-BME-GLU-00002 | 2024-08-01 | 2025-02-01 | 2024-08-15 | 2024-12-14
ICU/POW | Roche | Glucometer | Accu-Chek | 68821530958 | FF-RR-BME-GLU-00003 | 2024-03-01 | 2024-09-01 | 2024-08-15 | 2024-12-14
2ND FLR NS | Roche | Glucometer | Accu-Chek | 688310793681 | FF-RR-BME-GLU-00004 | 2024-06-01 | 2024-12-01 | 2024-08-15 | 2024-12-14
NICU | Roche | Glucometer | Accu -Chek | 68807450918 | FF-RR-BME-GLU-00005 | 2024-07-01 | 2025-01-01 | 2024-08-15 | 2024-12-14
NICU | Roche | Glucometer | Accu-Chek | 68828794581 | FF-RR-BME-GLU-00006 | 2024-07-01 | 2025-01-01 | 2024-08-15 | 2024-12-14
1ST FLR NS | Roche | Glucometer | Accu-Chek | 68828793994 | FF-RR-BME-GLU-00007 | 2024-06-01 | 2024-12-01 | 2024-08-15 | 2024-12-14
SPR | Roche | Glucometer | Accu-Chek | 68802731514 | FF-RR-BME-GLU-00008 | 2024-06-01 | 2024-12-01 | 2024-08-15 | 2024-12-14
GFC | Roche | Glucometer | Accu-Chek | 68807517871 | FF-RR-BME-GLU-00009 | 2024-06-01 | 2024-12-01 | 2024-08-15 | 2024-12-14
ER | Roche | Glucometer | Accu-Chek | na | FF-RR-BME-GLU-00010 | 2024-07-01 | 2025-01-01 | 2024-08-15 | 2024-12-14
Pediatric OP | Roche | Glucometer | Accu-Chek | 68806862416 | FF-RR-BME-GLU-00011 | 2024-05-01 | 2024-11-01 | 2024-08-15 | 2024-12-14
OT | Roche | Glucometer | Accu-Chek | 68802706927 | FF-RR-BME-GLU-00012 | 2024-03-01 | 2024-09-01 | 2024-08-15 | 2024-12-14
Disaster | Roche | Glucometer | Accu-Chek | 68806862441 | FF-RR-BME-GLU-00013 | 2024-07-01 | 2025-01-01 | 2024-08-15 | 2024-12-14
Pediatric OP | Yuwell | IR Thermometer | YT-1 | NA | FF-BG -BME-IRT-00001 | 2024-05-01 | 2024-11-01
NICU | NA | Laryngoscope | ns | na | FF-BG-BME-LAR-00001 | 2024-07-01 | 2025-01-01
ICU/POW | NA | Laryngoscope | NA | na | FF-BG-BME-LAR-00002 | 2024-03-01 | 2024-09-01
OT | na | Laryngoscope | na | na | FF-BG-BME-LAR-00003 | 2024-03-01 | 2024-09-01
ER | NA | Laryngoscope | NA | NA | FF-BG-BME-LAR-00004 | 2024-07-01 | 2025-01-01
NICU | ALLENGERS | MOBILE X-ray Machine | MARS 4.2 - SR | 2K21040055SR-DX/HF | FF-BG-BME-XRY-00001 | 2024-05-01 | 2024-11-01 | 2023-12-14 | 2024-12-13
Pediatric OP | Drager | Jaundice meter | JM 105 | H3507353 | FF-BG-BME-JND-00003 | 2024-05-01 | 2024-11-01 | 2024-06-10 | 2025-06-09
ER | NA | torch light | NA | NA | NA | 2024-07-01 | 2025-01-01
1ST FLR NS | Diamond | BP APPARATUS | Dial | NA | FF-BG-BME-BPM-00005 | 2024-06-01 | 2024-12-01 | 2023-12-11 | 2024-12-10
2ND FLR NS | DIAMOND | BP APPARATUS | DIAL | NA | FF-BG-BME-BPM-00006 | 2024-06-01 | 2024-12-01 | 2023-12-19 | 2024-12-18
3RD FLR LW | DIAMOND | BP APPARATUS | DIAL | NA | FF-BG-BME-BPD-00007 | 2024-08-01 | 2025-02-01 | 2023-12-13 | 2024-12-13
3RD FLR LW | DIAMOND | BP APPARATUS | DIAL | NA | FF-BG-BME-BPD-00008 | 2024-08-01 | 2025-02-01 | 2023-12-13 | 2024-12-13
3RD FLR LW | DIAMOND | BP APPARATUS | DIAL | NA | FF-BG-BME-BPD-00009 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
3RD FLR LW | DIAMOND | BP APPARATUS | DIAL | NA | FF-BG-BME-BPD-00010 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
ER | DIAMOND | BP APPARATUS | DIAL | NA | FF-BG-BME-BPD-00011 | 2024-07-01 | 2025-01-01 | 2023-12-13 | 2024-12-12
GFC | DIAMOND | BP APPARATUS | DIAL | NA | FF-BG-BME-BPM-00012 | 2024-06-01 | 2024-12-01 | 2023-12-11 | 2024-12-10
ICU/POW | DIAMOND | BP APPARATUS | DIAL | NA | FF-BG-BME-BPM-00013 | 2024-03-01 | 2024-09-01 | 2023-12-13 | 2024-12-12
Disaster | DIAMOND | BP APPARATUS | DIAL | NA | FF-BG-BME-BPD-00014 | 2024-07-01 | 2025-01-01 | 2023-12-13 | 2024-12-12
Pediatric OP | ASTRA | VITAL SIGN MONITOR | NA | NA | FF-BG-BME-VSM-00017 | 2024-05-01 | 2024-11-01 | 2023-12-11 | 2024-12-10
Consultation Room | DIAMOND | BP APPARATUS | DIAL | NA | FF-BG-BME-BPD-00015 | 2024-05-01 | 2024-11-01 | 2023-12-13 | 2024-12-12
GFC | NA | stethoscope | na | na | na | 2024-06-01 | 2024-12-01
ER | NA | Stethescope | NA | NA | NA | 2024-07-01 | 2025-01-01
Scan Room | Medialogic solutions | Scan Bed | Ergo bed | N/A | FF-BG-BME-SBD-00002 | 2024-05-01 | 2024-11-01 | 2023-12-13 | 2024-12-12
EOT | Nihon kohden | Defibrillator | TEC-5631K | 18074 | FF-BG-BME-DEF-00003 | 2024-03-01 | 2024-09-01 | 2023-12-14 | 2024-12-13
3RD FLR LW | GE | Ultrasound scan Machine | Versana active | 6240671WXo | FF-BG-BME-USG-00003 | 2024-07-01 | 2025-01-01 | 2023-12-13 | 2024-12-12
AUDIOLOGY | USB LITE | INTELLIGENT HEARING SYSTEMS | USB LITE | 3664 - 3.5 | FF-BG-BME-BER-00001 | 2024-06-01 | 2024-12-01 | 2023-12-13 | 2024-12-12
3RD FLR LW | phillips | NST machine | FM 30 | DE65938964 | FF-BG-BME-NST-00017 | 2024-08-01 | 2025-02-01 | 2023-12-13 | 2024-12-12
KMC | RS B12 | water bath shaker | REMI | ZHHS - 29561 | FF-BG-BME-SWB-00001 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
3RD FLR LW | multi thermometer | Refrigerator Temperature Monitor | HT- 9269 | NA | FF-BG-BME-RFT-00001 | 2024-08-01 | 2025-02-01 | 2023-11-25 | 2024-11-14
KMC | spectra | Breast Pump | unimom | IN 818120035 | FF-RR-BME-BPM-00012 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
KMC | spectra | Breast Pump | unimom | IN 81812001 | FF-RR-BME-BPM-00013 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
Ground Floor OP | ASTRA | Vital Sign Monitor | PC100H34V13 | 20210708007 | FF-BG-BME-VSM-00012 | 2024-05-01 | 2024-11-01 | 2023-12-11 | 2024-12-10
NICU | Essae | Baby Weighing Scale | BS -250 | G25022822539 | FF-BG-BME-BWS-00013 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | Essae | Baby Weighing Scale | BS- 250 | G25022822540 | FF-BG-BME-BWS-00014 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | GE | BILLISOFT Phototherapy | 2 | HGAB60895 | FF-BG-BME-BSP-00001 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
KMC | spectra | Breast Pump | unimom | in818120026 | FF-RR-BME-BPM-00014 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
KMC | sri sai scientific | hot air oven | ROTEX | NA | FF-BG-BME-HAO-00001 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
OT | YATHERM SCIENTIFIC | COMBINATION WARMER | HOSPI 330C | NA | FF-BG-BME-CWC-00001 | 2024-03-01 | 2024-09-01 | 2023-12-14 | 2024-12-13
OT | Dr. Mach | top light | 150fp/150 fp | 22-15562/15526 | FF-BG-BME-SRL-00014 | 2024-03-01 | 2024-09-01 | 2023-12-11 | 2024-12-10
OT | Nihon kohden | Patient Monitor | PVM - 4763K | 7282 | FF-BG-BME-MON-00032 | 2024-03-01 | 2024-09-01 | 2023-12-14 | 2024-12-13
3RD FLR LW | Phoenix | Procedure Bed | DT-100 | NA | FF-BG-BME-PBD-00001 | 2024-08-01 | 2025-02-01 | 2023-12-12 | 2024-12-11
DAY CARE UNIT | Roche | Glucometer | Accu-Chek | 68802731473 | FF-RR-BME-GLU-00014 | 2024-07-01 | 2025-01-01 | 2024-08-15 | 2024-12-14
Scan Room | GE | Ultrasound scan Machine | VOLUSON p8 | VP8811567 | FF-BG-BME-USG-00004 | 2024-03-01 | 2024-09-01 | 2023-12-13 | 2024-12-12
1ST FLR NS | multi thermometer | Refrigerator Temperature Monitor | HT- 9269 | NA | FF-BG-BME-RFT-00004 | 2024-06-01 | 2024-12-01 | 2023-12-23 | 2024-12-22
2ND FLR NS | multi thermometer | Refrigerator Temperature Monitor | HT- 9269 | NA | FF-BG-BME-RFT-00005 | 2024-06-01 | 2024-12-01 | 2023-11-20 | 2024-11-19
GFC | multi thermometer | Refrigerator Temperature Monitor | HT- 9269 | NA | FF-BG-BME-RFT-00003 | 2024-06-01 | 2024-12-01 | 2023-11-20 | 2024-11-19
NICU | multi thermometer | Refrigerator Temperature Monitor | HT- 9269 | NA | FF-BG-BME-RFT-00006 | 2024-07-01 | 2025-01-01 | 2023-11-09 | 2024-11-08
NICU | multi thermometer | Refrigerator Temperature Monitor | HT- 9269 | NA | FF-BG-BME-RFT-00007 | 2024-07-01 | 2025-01-01 | 2023-11-09 | 2024-11-08
SPR | multi thermometer | Refrigerator Temperature Monitor | HT- 9269 | NA | FF-BG-BME-RFT-00008 | 2024-06-01 | 2024-12-01 | 2023-11-09 | 2024-11-08
Pediatric OP | multi thermometer | Refrigerator Temperature Monitor | HT- 9269 | NA | FF-BG-BME-RFT-00015 | 2024-05-01 | 2024-11-01 | 2023-11-20 | 2024-11-19
ICU/POW | multi thermometer | Refrigerator Temperature Monitor | HT- 9269 | NA | FF-BG-BME-RFT-00022 | 2024-03-01 | 2024-09-01 | 2023-11-20 | 2024-11-19
ER | multi thermometer | Refrigerator Temperature Monitor | HT- 9269 | NA | FF-BG-BME-RFT-00023 | 2024-07-01 | 2025-01-01 | 2023-11-20 | 2024-11-19
Pharmacy | multi thermometer | Refrigerator Temperature Monitor | HT- 9269 | NA | FF-BG-BME-RFT-00016 | 2024-06-01 | 2024-12-01 | 2023-11-20 | 2024-11-19
Pharmacy | multi thermometer | Refrigerator Temperature Monitor | HT- 9269 | NA | FF-BG-BME-RFT-00011 | 2024-06-01 | 2024-12-01 | 2023-12-23 | 2024-12-22
Pharmacy | multi thermometer | Refrigerator Temperature Monitor | HT- 9269 | NA | FF-BG-BME-RFT-00012 | 2024-06-01 | 2024-12-01 | 2023-11-25 | 2024-11-24
Pharmacy | multi thermometer | Refrigerator Temperature Monitor | HT- 9269 | NA | FF-BG-BME-RFT-00018 | 2024-06-01 | 2024-12-01 | 2023-12-23 | 2024-12-22
KMC | multi thermometer | Refrigerator Temperature Monitor | HT- 9269 | NA | FF-BG-BME-RFT-00019 | 2024-07-01 | 2025-01-01 | 2023-12-23 | 2024-12-22
KMC | multi thermometer | Refrigerator Temperature Monitor | HT- 9269 | NA | FF-BG-BME-RFT-00017 | 2024-07-01 | 2025-01-01 | 2023-12-23 | 2024-12-22
OT | multi thermometer | Refrigerator Temperature Monitor | HT- 9269 | NA | FF-BG-BME-RFT-00021 | 2024-03-01 | 2024-09-01 | 2023-12-23 | 2024-12-22
STD -BY | multi thermometer | Refrigerator Temperature Monitor | HT- 9269 | NA | FF-BG-BME-RFT-00026 | 2024-06-01 | 2024-12-01 | 2023-11-09 | 2024-11-08
FH1 LAB | multi thermometer | Refrigerator Temperature Monitor | HT- 9269 | NA | FF-BG-BME-RFT-00020 | 2024-04-01 | 2024-10-01 | 2023-11-25 | 2024-11-24
Nutrition | NA | Refrigerator Temperature Monitor ( PEN TYPE ) | themisto | NA | FF-BG-BME-RFT-00027 | 2024-08-01 | 2025-02-01 | 2023-11-25 | 2024-11-24
NICU | nihon & kohden | Patient Monitor | PVM - 4763 | 8940 | FF-BG-BME-MON-00033 | 2024-07-01 | 2025-01-01 | 2023-12-14 | 2024-12-13
NICU | nihon & kohden | Patient Monitor | PVM - 4763 | 8927 | FF-BG-BME-MON-00034 | 2024-07-01 | 2025-01-01 | 2023-12-14 | 2024-12-13
AUDIOLOGY | GENWORKS HEALTHCARE pvt LTD | ECHO SCREEN - III | NATUS | 140B0095 | FF-BG-BME-HRS-00001 | 2024-06-01 | 2024-12-01 | 2023-12-13 | 2024-12-12
NICU | PHOENIX | EMBRACE NEST | FD0902 | FD090423104987 | FF-BG-BME-EMB-00007 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | PHOENIX | EMBRACE NEST | FD0902 | FD090423104988 | FF-BG-BME-EMB-00008 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | Draeger | Ventilator | Babylog VN600 | ASSB-00861/ 220527608130 | FF-BG-BME-VEN-00004 |  |  | 2023-12-14 | 2024-12-13
NICU | MASIMO | Pulse oximeter | RAD 97 | 3000185617 | FF-BG-BME-POX-00021 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | MASIMO | Pulse oximeter | RAD 97 | 3000185589 | FF-BG-BME-POX-00018 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | MASIMO | Pulse oximeter | RAD 97 | 3000185508 | FF-BG-BME-POX-00022 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | MASIMO | Pulse oximeter | RAD 97 | 3000188138 | FF-BG-BME-POX-00019 | 2024-07-01 | 2025-01-01 | 2023-12-19 | 2024-12-18
NICU | Masimo | Pulse oximeter | Rad 97 | 3000185575 | FF-BG-BME-POX-00025 | 2024-07-01 | 2025-01-01 | 2023-12-14 | 2024-12-13
ICU/POW | OMRON | Nebulizer | NE - C28 | 20220912310uf | FF-BG-BME-NEB-00008 | 2024-03-01 | 2024-09-01 | 2023-12-11 | 2024-12-10
GFC | astra | vital sign monitor | unicare | 20210708003 | FF-BG-BME-VSM-00018 | 2024-06-01 | 2024-12-01 | 2023-12-11 | 2024-12-10
ICU/POW | phillips | Patient Monitor | MP30 | DE72874624 | FF-BG-BME-MON-00036 | 2024-03-01 | 2024-09-01 | 2023-12-15 | 2024-12-14
2ND FLR NS | philips | NST machine | fm20 | DE53028339 | FF-BG-BME-NST-00002 | 2024-08-01 | 2025-02-01 | 2023-12-13 | 2024-12-12
DAY CARE UNIT | phillips | NST machine | fm 20 | DE65863891 | FF-BG-BME-NST-00001 | 2024-08-01 | 2025-02-01 | 2023-12-13 | 2024-12-12
1ST FLR NS | Paramount | Patient bed | 1A-53380 | W00148400069 | FF-BG-BME-EBD-00029 | 2024-06-01 | 2024-12-01 | 2024-04-02 | 2025-04-01
1ST FLR NS | Paramount | Patient bed | 1A-53380 | W00145900001 | FF-BG-BME-EBD-00035 | 2024-06-01 | 2024-12-01 | 2024-04-02 | 2025-04-01
1ST FLR NS | Paramount | Patient bed | 1A-53380 | W00148400078 | FF-BG-BME-EBD-00034 | 2024-06-01 | 2024-12-01 | 2024-04-02 | 2025-04-01
1ST FLR NS | Paramount | Patient bed | 1A-53380 | W00148400077 | FF-BG-BME-EBD-00033 | 2024-06-01 | 2024-12-01 | 2024-04-02 | 2025-04-01
1ST FLR NS | Paramount | Patient bed | 1A-53380 | W00145900015 | FF-BG-BME-EBD-00032 | 2024-06-01 | 2024-12-01 | 2024-04-02 | 2025-04-01
1ST FLR NS | Paramount | Patient bed | 1A-53380 | W00148400026 | FF-BG-BME-EBD-00031 | 2024-06-01 | 2024-12-01 | 2024-04-02 | 2025-04-01
1ST FLR NS | Paramount | Patient bed | 1A-53380 | W00145900014 | FF-BG-BME-EBD-00043 | 2024-06-01 | 2024-12-01 | 2024-04-02 | 2025-04-01
1ST FLR NS | Paramount | Patient bed | 1A-53380 | W00148400027 | FF-BG-BME-EBD-00044 | 2024-06-01 | 2024-12-01 | 2024-04-02 | 2025-04-01
1ST FLR NS | Paramount | Patient bed | 1A-53380 | W00148400033 | FF-BG-BME-EBD-00042 | 2024-06-01 | 2024-12-01 | 2024-04-02 | 2025-04-01
1ST FLR NS | Paramount | Patient bed | 1A-53380 | W00148400076 | FF-BG-BME-EBD-00040 | 2024-06-01 | 2024-12-01 | 2024-04-02 | 2025-04-01
1ST FLR NS | Paramount | patient bed | 1A-53380 | W00148400075 | FF-BG-BME-EBD-00041 | 2024-06-01 | 2024-12-01 | 2024-04-02 | 2025-04-01
1ST FLR NS | Paramount | Patient bed | 1A-53380 | W00148400028 | FF-BG-BME-EBD-00039 | 2024-06-01 | 2024-12-01 | 2024-04-02 | 2025-04-01
1ST FLR NS | Paramount | Patient bed | 1A-53380 | W00148400029 | FF-BG-BME-EBD-00038 | 2024-06-01 | 2024-12-01 | 2024-04-02 | 2025-04-01
1ST FLR NS | Paramount | Patient bed | 1A-53380 | W00148400036 | FF-BG-BME-EBD-00037 | 2024-06-01 | 2024-12-01 | 2024-04-02 | 2025-04-01
1ST FLR NS | Paramount | Patient bed | 1A-53380 | W00148400035 | FF-BG-BME-EBD-00036 | 2024-06-01 | 2024-12-01 | 2024-04-02 | 2025-04-01
1ST FLR NS | Paramount | Patient bed | 1A-53380 | W00148400037 | FF-BG-BME-EBD-00030 | 2024-06-01 | 2024-12-01 | 2024-04-02 | 2025-04-01
ICU/POW | Zoy | Air Bed | Alpha Bed | C160602710 | FF-BG-BME-ABD-00004 | 2024-03-01 | 2024-09-01 | 2023-12-13 | 2024-12-12
OT | Wipro GE | Anaesthesia Workstation | 9100C NXT | SPC24020070-WA | FF-BG-BME-ANS-00003 | 2024-07-01 | 2025-01-01 | 2023-12-12 | 2025-04-11
OT | Phoenix | Infant warmer | NWS101 | 2686 | FF-BG-BME-WAR-00020 | 2024-03-01 | 2024-09-01 | 2023-12-13 | 2024-12-12
NICU | JMS | Infusion Pump | OT-701 | 81124 | FF-BG-BME-INF-00027 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | JMS | Infusion Pump | OT-701 | 81125 | FF-BG-BME-INF-00028 | 2024-07-01 | 2025-01-01 | 2023-12-15 | 2024-12-14
NICU | Masimo | Pulse oximeter | Rad 97 | 300048805 | FF-BG-BME-POX-00024 | 2024-07-01 | 2025-01-01 | 2023-12-19 | 2024-12-18
NICU | Masimo | Pulse oximeter | Rad 97 | 3000035201 | FF-BG-BME-POX-00013 | 2024-07-01 | 2025-01-01 | 2023-12-14 | 2024-12-13
NICU | Masimo | Pulse oximeter | Rad 97 | 352420 | FF-BG-BME-POX-00020 | 2024-07-01 | 2025-01-01 | 2023-12-19 | 2024-12-18
NICU | Masimo | Pulse oximeter | Rad 97 | 303720 | FF-BG-BME-POX-00023 | 2024-07-01 | 2025-01-01 | 2023-12-19 | 2024-12-18
Scan Room | Medialogic solutions | Scan Bed | Ergo bed | N/A | FF-BG-BME-SBD-00003 | 2024-05-01 | 2024-11-01 | 2023-12-13 | 2024-12-12